## Slide 1: A Cost-Benefit Analysis of a Campus Computing Grid
Preston Smith
Rosen Center For Advanced Computing
Purdue University
psmith@purdue.edu
Condor Week 2011

## Slide 2: Overview
Introduction
  The Problem
  Significance of the Problem
Methodology
  Costs
    Benchmarking
  Capacity
  Utility
Findings
Conclusions

## Slide 3: Background
Purdue University Campus Grid
  Large, high throughput, computation resource – 42,000 processor cores
Frequently linked to efforts to reduce IT costs
  Claims include
    Power savings, maximizing investment in IT
    HPC resource using existing equipment
    No marginal cost increase

## Slide 4: The Problem
What is the Additional Cost of Having a Campus Grid?
  On top of existing IT investment
  People say it’s basically zero – but how close is it in reality?
An institution needs information for designing an HPC resource
  Therefore, I define a model for identifying the costs and benefits of building a campus grid

## Slide 5: Significance of the Problem

## Slide 6: Significance of the Problem
Appropriate Computations
  IU study reports:
    66% of all jobs on TeraGrid in 2004-2006 were single-CPU jobs
    80% of those jobs ran for two hours or less
  Purdue University
    35.4 million single-core serial jobs in 2008-10
    Average runtime of 1.35 hours
      This is 21% of all HPC hours consumed at Purdue.
A large amount of work is appropriate for a campus grid

## Slide 7: Significance of the Problem
Size of Grid Resource
  27,000 desktop machines at Purdue
    2 cores per machine – 54,000 cores on desktops
  30,000 cores of HPC clusters
  84,000 cores potentially usable by the grid
    40,000 used by the grid today
Only 17 systems on 2010 Top 500 with more than 40,000 cores!
  200 TF theoretical performance – top 20 machine

## Slide 8: Significance of the Problem
Power Cost of Desktop Computers
  111W idle
  160W at full load
Purdue’s 27,000 desktops
  2.99 MW/hour, for a total of 26,253.7 MW per year
Idle to fully loaded
  Estimated additional cost of $393,805.80 per year
Notes: Could possibly power-save entirely – and not incur hardly any power cost at all. But the tradeoff is the loss of the output from these systems!

## Slide 9: Methodology
Identify and calculate baseline costs
  Clusters
  Desktop, student lab IT
Identify and calculate additional costs
  Staff, power, hardware
Measure capacity of the grid
  Sample the state of the grid over 2-week period
Benchmark
  Condor nodes
  Amazon EC2
Normalize Costs
  To Amazon EC2
Collect and Report Output of Grid
  Cost per productivity metric

## Slide 10: Pre-Normalized Costs
 | Per Hour Cost
Labs | $0.0445
Steele | $0.0218
Coates | $0.0237
Condor | $0.03
EC2 | $0.17
Labs, Steele, and Coates are all derived from Purdue TCO data
“Condor” is average of all three
“EC2” is retail price (per core) of EC2 “Large” instance

## Slide 11: Normalization
Internal benchmarks
  Condor runs and presents two predefined benchmarks
    Kflops (LINPACK)
    MIPS (Dhrystone)
      Are these benchmarks meaningful enough to normalize cost?
Application benchmark
  Use a benchmark that relates to real performance of an application
    NAS Parallel Benchmarks
    Single CPU BT, SP, Class C
Notes: Chose BT because it has an I/O component – giving it a little more real-world applicability – and SP to match what was done in Community and Cloud

## Slide 12: Normalization - Benchmarks
EC2 is 17.1% faster than avg Purdue Condor nodes
.829 cost
scaling factor

## Slide 13: Normalized Cost Model
Cn: normalized per-core-hour cost
Ch: pre-normalized per core-hour cost
Fn: a constant representing the normalizing factor of one hour on the grid to 1 hour on EC2.
Normalized core-hour cost: $.03619
$.300
.829

## Slide 14: Additional Costs
Item | Total yearly Cost
Systems Engineering (1 FTE) | $73,810.00
User Support (.75 FTE) | $55,357.50
Distributed IT Staff (.1 FTE) | $11,071.50
Additional Power Load | $290,295.01
 | Amortized Over 5 Years
Submit Nodes | $6,360.00
Checkpoint Servers ,etc | $8,480.00
Total | $433,502.01

## Slide 15: Additional Costs – Per Core Hour
Ca: additional per-core-hour cost
Ey: total yearly additional cost of operating the grid
Sa: total available slots in the grid
Hy: total hours in a year
$433,502.01
13,526
8760
3.66 tenths of one cent!

## Slide 16: Power Costs
Actual additional power expense

## Slide 17: Total Cost
Ct: total per-core-hour cost
Cn: total normalized base cost of the campus grid
Ca: total additional cost per core hour
Total per core-hour cost: $.03985

## Slide 18: Scientific Output – Raw Metrics
Year | Unique users | Unique Pis | Unique PI Depts | Fields of Science | Jobs | Hours
2005 | 25 | 8 | 5 | 4 | 295265 | 1.9 M
2006 | 70 | 27 | 11 | 11 | 4.44 M | 4.61 M
2007 | 115 | 50 | 16 | 19 | 9.93 M | 8.17 M
2008 | 115 | 60 | 13 | 18 | 14.9 M | 16.6 M
2009 | 163 | 85 | 18 | 16 | 15.4 M | 17.9 M
2010 | 145 | 79 | 20 | 16 | 15.2 M | 18.6 M
From Rosen Center Usage Metrics
Notes: A bit about hours and jobs as a metric – it’s not perfect – for example, how do we know how many of those jobs had usable results? Or did they just waste time?
But as noted by Kuck, it’s hard to measure “solutions”..

## Slide 19: Solutions or Publications as Metrics
Solutions per unit of time is one metric recommended in the literature
  How much good computation was done in those millions of hours?
  But, from the perspective of the institution, this is hard to obtain
    Only the user knows how many of these jobs were scientifically useful!
Publications are the end goal of research, so they are an excellent measure of output
  Unfortunately no data exists on publications directly attributable to the campus grid

## Slide 20: Per-Metric Costs
Ctot: the total per-core-hour cost per unit of Mu
Hy: total hours provided in a year
Ct: total cost of an hour of use in the campus grid
Mu: metric of use (such as users or PIs)
users
$0.0398468012
1,945,723
$3, 101.23 per user
2005:

## Slide 21: Additional Costs, Per Metric
 | Per User | Per PI | Per PI Dept | Per Field of Science
2005 | $284.75 | $889.83 | $1,423.73 | $1,779.67
2006 | $241.13 | $625.14 | $1,534.45 | $1,534.45
2007 | $259.87 | $597.69 | $1,867.78 | $1,572.87
2008 | $528.17 | $1,012.32 | $4,672.24 | $3,374.40
2009 | $403.96 | $774.66 | $3,658.12 | $4,115.39
2010 | $469.54 | $861.81 | $3,404.15 | $4,255.18
 | Per User | Per PI | Per PI Dept | Per Field of Science
Average | $364.57 | $793.58 | $2,760.08 | $2,771.99
Average 11.3 Million Hours
Average 105 users
Average 107,300 hours per user
$364.57 a user

## Slide 22: Additional Costs, Per Metric
Notes: Again - NOT a fixed cost model which would decrease costs as users/Pis/etc increase – it is a variable cost model

## Slide 23: Summary
Measured Relative Performance of Grid Nodes
  .829 relative to Amazon EC2
Developed Models and Calculated Per-Core Hour Costs:
  Normalized: $.03619
  Additional: $0.003658623
  Total: $0.039847
Calculated Costs per unit of Several Metrics
  For example: For each user of the grid in 2010
    Additional cost to Purdue is $469.54
On average, each user costs Purdue an extra $364.57

## Slide 24: Recommendation
A campus grid is indeed a cost-effective way to create a useful HPC resource
  Any institution with a substantial investment in an IT infrastructure should consider a campus grid to support HPC
Questions?

## Slide 25: The End
Questions?